|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **AHERA Six-Month Surveillance Inspection Date:\_\_\_\_\_\_\_\_3/7/24\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**    **Inspector (Print Name):\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_Russell Mealey\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**  **Inspector Signature:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**  **M.E. Small Elementary School - 440 Higgins-Crowell Road, West Yarmouth, Massachusetts** | | | | | |
| **Location** | **ACBM**  **Description** | **Estimated**  **Quantity** | | **VERTEX**  **April 2013**  **Condition** | **March**  **2024**  **Updated**  **Condition** |
| ***Upper Level*** | | | | | |
| Room 101 | 9" x 9" Off-White Multi-Color Spec Floor Tile and Mastic | 990 | ft2 | G | 1 ft2 D |
| Drywall/Joint Compound\* | 100 | ft2 | G | G |
| Black Sink Mastic | 1 | Unit | G | C |
| Room 102 | 9" x 9" Off-White Multi-Color Spec Floor Tile | 990 | ft2 | G | G |
| Drywall/Joint Compound\* | 100 | ft2 | G | G |
| Black Sink Mastic | 1 | Unit | G | C |
| Room 103 | 9" x 9" Tan Floor Tile and Mastic | 990 | ft2 | G | G |
| Drywall/Joint Compound\* | 100 | ft2 | G | G |
| Black Sink Mastic | 1 | Unit | G | C |
| Room 104 | 9" x 9" Tan Floor Tile and Mastic | 990 | ft2 | G | G |
| Drywall/Joint Compound\* | 100 | ft2 | G | G |
| Black Sink Mastic | 1 | Unit | G | C |
| Janitor Closet by Supply Closet A | 9" x 9" Tan Floor Tile and Mastic | 36 | ft2 | G | 6 ft2 D |
| Supply Closet A | 9" x 9" Tan Floor Tile and Mastic | 36 | ft2 | G | G |
| Room 105 | 9" x 9" Tan Floor Tile and Mastic | 990 | ft2 | G | 2ft2 D |
| Drywall/Joint Compound\* | 100 | ft2 | G | G |
| Black Sink Mastic | 1 | Unit | G | C |
| Room 106 | 9" x 9" Tan Floor Tile and Mastic | 990 | ft2 | G | G |
| Drywall/Joint Compound\* | 100 | ft2 | G | G |
| Black Sink Mastic | 1 | Unit | G | C |
| Room 107 | 9" x 9" Tan Floor Tile and Mastic | 990 | ft2 | G | 1ft2D |
| Drywall/Joint Compound\* | 100 | ft2 | G | G |
| Black Sink Mastic | 1 | Unit | G | C |
| Room 108 | 9" x 9" Tan Floor Tile and Mastic | 990 | ft2 | G | G |
| Drywall/Joint Compound\* | 100 | ft2 | G | G |
| Black Sink Mastic | 1 | Unit | G | C |
| Supply Closet B | 9" x 9" Off-White Multi-Color Spec Floor Tile and Mastic | 50 | ft2 | G | G |
| Supply Closet C | 9" x 9" Tan Floor Tile and Mastic | 28 | ft2 | G | 2ft2D |
| Supply Closet D | 9" x 9" Tan Floor Tile and Mastic | 36 | ft2 | G | G |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **AHERA Six-Month Surveillance Inspection Date:\_\_\_\_\_\_\_\_\_\_3/7/24\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**    **Inspector (Print Name):\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_Russell Mealey\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**  **Inspector Signature:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**  **M.E. Small Elementary School - 440 Higgins-Crowell Road, West Yarmouth, Massachusetts** | | | | | |
| **Location** | **ACBM**  **Description** | **Estimated**  **Quantity** | | **VERTEX**  **April 2013**  **Condition** | **March**  **2024**  **Updated**  **Condition** |
| ***Upper Level (Continued)*** | | | | | |
| Janitor Closet by Supply Closet D | 9" x 9" Tan Floor Tile and Mastic | 36 | ft2 | G | 8 ft2 D |
| Room 201 | 9" x 9" Tan Floor Tile and Mastic | 990 | ft2 | G | G |
| Drywall/Joint Compound\* | 100 | ft2 | G | G |
| Room 202 | 9" x 9" Tan Floor Tile and Mastic | 990 | ft2 | G | G |
| Drywall/Joint Compound\* | 100 | ft2 | G | G |
| Black Sink Mastic | 1 | Unit | G | C |
| L-204/Library | Drywall/Joint Compound\* | 360 | ft2 | G | G |
| L-204C/Computer Room | 9" x 9" Tan Floor Tile and Mastic | 405 | ft2 | G | G |
| Drywall/Joint Compound\* | 100 | ft2 | G | G |
| L-204A | 9" x 9" Tan Floor Tile and Mastic | 960 | ft2 | MD | MD |
| Drywall/Joint Compound\* | 100 | ft2 | G | G |
| L-204B | 9" x 9" Tan Floor Tile and Mastic | 960 | ft2 | MD | MD |
| Drywall/Joint Compound\* | 100 | ft2 | G | G |
| Teacher Lounge and Bathrooms | 9" x 9" Off-White Multi-Color Spec Floor Tile and Mastic | 180 | ft2 | 3 ft2 D | 3 ft2 D |
| Room 205A  (Psyc Office) | 9" x 9" Off-White Multi-Color Spec Floor Tile and Mastic  (Under Carpet) | 200 | ft2 | C | C |
| Contaminated Carpet | 200 | ft2 | G | G |
| Room 205 (Art) | Drywall/Joint Compound\* | 220 | ft2 | G | G |
| Room 310 | 9" x 9" Off-White Multi-Color Spec Floor Tile and Mastic | 990 | ft2 | G | G |
| Drywall/Joint Compound\* | 100 | ft2 | G | G |
| Black Sink Mastic | 1 | Unit | G | C |
| Supply Closet E | 9" x 9" Tan Floor Tile and Mastic | 36 | ft2 | G | G |
| Janitor Closet by Supply Closet E | 9" x 9" Tan Floor Tile and Mastic | 36 | ft2 | 12 ft2 D | 12 ft2 D |
| Room 309 | 9" x 9" Off-White Multi-Color Spec Floor Tile and Mastic | 990 | ft2 | G | 1ft2 D |
| Drywall/Joint Compound\* | 100 | ft2 | G | G |
| Black Sink Mastic | 1 | Unit | G | C |
| Supply Closet F | 9" x 9" Tan Floor Tile and Mastic | 36 | ft2 | G | 2ft2D |
| Supply Closet G | 9" x 9" Tan Floor Tile and Mastic | 28 | ft2 | G | G |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **AHERA Six-Month Surveillance Inspection Date:\_\_\_\_\_\_\_\_3/7/24\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**    **Inspector (Print Name):\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_Russell Mealey\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**  **Inspector Signature:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**  **M.E. Small Elementary School - 440 Higgins-Crowell Road, West Yarmouth, Massachusetts** | | | | | |
| **Location** | **ACBM**  **Description** | **Estimated**  **Quantity** | | **VERTEX**  **April 2013**  **Condition** | **March**  **2024**  **Updated**  **Condition** |
| ***Upper Level (Continued)*** | | | | | |
| Room 308 | 9" x 9" Off-White Multi-Color Spec Floor Tile and Mastic | 990 | ft2 | G | 3 ft2 D |
| Drywall/Joint Compound\* | 100 | ft2 | G | G |
| Black Sink Mastic | 1 | Unit | G | C |
| Room 307 | 9" x 9" Off-White Multi-Color Spec Floor Tile and Mastic | 990 | ft2 | G | G |
| Drywall/Joint Compound\* | 100 | ft2 | G | G |
| Black Sink Mastic | 1 | Unit | G | C |
| Supply Closet H | 9" x 9" Tan Floor Tile and Mastic | 36 | ft2 | G | G |
| Janitor Closet by Supply Closet H | 9" x 9" Tan Floor Tile and Mastic | 36 | ft2 | 20 ft2 D | 20 ft2 D |
| Room 306 | 9" x 9" Off-White Multi-Color Spec Floor Tile and Mastic | 990 | ft2 | G | 2ft2 D |
| Drywall/Joint Compound\* | 100 | ft2 | G | G |
| Black Sink Mastic | 1 | Unit | G | C |
| Room 305 | 9" x 9" Off-White Multi-Color Spec Floor Tile and Mastic | 990 | ft2 | G | 1 ft2 D |
| Drywall/Joint Compound\* | 100 | ft2 | G | G |
| Black Sink Mastic | 1 | Unit | G | C |
| Room 304 | 9" x 9" Off-White Multi-Color Spec Floor Tile and Mastic | 990 | ft2 | G | G |
| Drywall/Joint Compound\* | 100 | ft2 | G | G |
| Black Sink Mastic | 1 | Unit | G | C |
| Room 303 | 9" x 9" Off-White Multi-Color Spec Floor Tile and Mastic | 990 | ft2 | G | 8ft2D |
| Drywall/Joint Compound\* | 100 | ft2 | G | G |
| Black Sink Mastic | 1 | Unit | G | C |
| Room 302 | 9" x 9" Off-White Multi-Color Spec Floor Tile and Mastic | 990 | ft2 | G | 1ft2D |
| Drywall/Joint Compound\* | 100 | ft2 | G | G |
| Black Sink Mastic | 1 | Unit | G | C |
| Room 301 | 9" x 9" Off-White Multi-Color Spec Floor Tile and Mastic | 990 | ft2 | G | 2ft2D |
| Drywall/Joint Compound\* | 100 | ft2 | G | G |
| Black Sink Mastic | 1 | Unit | G | C |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **AHERA Six-Month Surveillance Inspection Date:\_\_\_\_\_\_3/7/24\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**    **Inspector (Print Name):\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_Russell Mealey\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**  **Inspector Signature:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**  **M.E. Small Elementary School - 440 Higgins-Crowell Road, West Yarmouth, Massachusetts** | | | | | | |
| **Location** | **ACBM**  **Description** | **Estimated**  **Quantity** | | **VERTEX**  **April 2013**  **Condition** | **March**  **2024**  **Updated**  **Condition** |
| ***Upper Level (Continued)*** | | | | | | |
| Supply Closet/Janitor Closet I by Men’s/Women’s Room | Black Residual Mastic | 28 | ft2 | E | E |
|  | Pipe Fitting Insulation | 11 | Units | G | G |
| Gym | Wood Flooring Paper (Assumed) | 2646 | ft2 | C | C |
| Gym Office Hatch | Flexible Duct Connector Cloth | 1 | Unit | G | G |
| Clinic (Nurse) and Bathroom | 9" x 9" Off-White Multi-Color Spec Floor Tile and Mastic | 220 | ft2 | G | G |
| Black Sink Mastic | 1 | Unit | G | G |
| Black Residual Mastic | 20 | ft2 | C | C |
| 12" x 12" Blue Floor Tile (Contaminated) | 20 | ft2 | G | G |
| Main Office Area (Conference, Principal, Guidance) | Pink Sink Mastic (Assumed) | 1 | Unit |  | U |
| Drywall/Joint Compound\* | 180 | ft2 | G | G |
| Main Office Bathroom | Black Residual Mastic | 20 | ft2 | C | C |
| 12" x 12" Blue Floor Tile (Contaminated) | 20 | ft2 | G | G |
| Main Office Closet | 9" x 9" Tan Floor Tile and Mastic | 36 | ft2 | G | G |
| Pipe Fitting Insulation | 6 | Units | G | G |
| Kitchen/Cafeteria | Drywall/Joint Compound\* | 650 | ft2 | G | G |
| Staff Dining | Drywall/Joint Compound\* | 220 | ft2 | G | G |
| Upper Level Corridors | Drywall/Joint Compound\* | 2000 | ft2 | G | G |
| Fire Doors (Assumed) | 12 | Units | G | G |
| ***Lower Level*** | | | | | | |
| Boiler Room | Interior Boiler Materials | 2 | Boilers | U | U |
| Hall to Music Room | 9" x 9" Tan Floor Tile and Mastic | 60 | ft2 | G | G |
| Music Room | 9" x 9" Tan Floor Tile and Mastic | 3250 | ft2 | G | G |
| Pipe Insulation (Above Ceiling under Plastic Jacket) | 230 | lf | G | G |
| Crawl Space | Pipe Fitting Insulation | 229 | Units | 7 D | 7 D |

Notes:

ft2 = Square Foot Cond. = Condition U = Unknown

lf = Linear Foot G = Good C = Covered

Unit = Each MD = Minor Damage NF = Not Found

Y= Yes D = Damaged NPI = Not Previously Identified

N = No Fri. = Friable