|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **AHERA Six-Month Surveillance Inspection Date:\_\_\_\_\_\_9/29/23\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**    **Inspector (Print Name):\_\_\_\_\_\_\_\_\_\_\_Russell Mealey\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**  **Inspector Signature:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**  **Dennis-Yarmouth Regional High School, S. Yarmouth Massachusetts** | | | | | |
| **Location** | **ACBM**  **Description** | **Estimated**  **Quantity** | | **VERTEX**  **July 2013**  **Condition** | **September**  **2023**  **Updated**  **Condition** |
| ***Lower Level*** | | | | | |
| Former Boat Shop | 9”x 9” Gray Floor Tile and Mastic | 132 | ft2 | MD (6 ft2) | MD 10ft2 |
| Room 003 | 9”x 9” Gray Floor Tile and Mastic | 900 | ft2 | MD (4 ft2) | MD 7ft2 |
| Room 005 | 9”x 9” Green Floor Tile and Mastic | 900 | ft2 | MD (10 ft2) | MD 10ft2 |
| Room 007 | 9”x 9” Gray Floor Tile and Mastic | 900 | ft2 | G | MD 4ft2 |
| Room 009 | 9”x 9” Green Floor Tile and Mastic | 900 | ft2 | G | MD 4ft2 |
| Room 011 | 9”x 9” Gray Floor Tile and Mastic | 900 | ft2 | MD (3 ft2) | MD 4ft2 |
| ***First Floor*** | | | | | |
| Room 207 | 12”x 12” Off-White Tan Streak FT and Mastic | 1,512 | ft2 | G | MD 1ft2 |
| Room 207(offices) | 12”x 12” Off-White Tan Streak FT and Mastic | 1,408 | ft2 | G | MD 2ft2 |
| Room 205 | 12”x 12” Off-White Tan Streak FT and Mastic | 2,288 | ft2 | G | MD 5ft2 |
| Auditorium/Stage | Stage Curtain (assumed) | 1 | Unit | G | G |
| Maintenance Office Computer Room 301 | 9”x 9” Gray Floor Tile and Mastic | 50 | ft2 | SD | SD |
| Room 306B (gym storage) | 9”x 9” Green Floor Tile and Mastic | 80 | ft2 | SD | SD |
| Room 343 (electric) | 9”x 9” Salmon Floor Tile and Mastic | 110 | ft2 | G | G |
| Gymnasium Storage #1 (1977) | 12”x 12” Off-White Tan Streak FT and Mastic | 300 | ft2 | MD (4 ft2) | MD 8ft2 |
| Gymnasium Storage #2 (1977) | 12”x 12” Off-White Tan Streak FT and Mastic | 300 | ft2 | MD (4 ft2) | MD 4ft2 |
| 400-Hall (1977) | 12”x 12” Gray Red Streak Floor Tile and Mastic | 1,680 | ft2 | MD (6 ft2) | Abated |
| Room 407 (offices) | 12”x 12” Off-White Tan Streak FT and Mastic | 576 | ft2 | MD (4 ft2) | MD 5ft2 |
| Room 411 | 12”x 12” Off-White Tan Streak FT and Mastic | 820 | ft2 | G | MD 5ft2 |
| Room 413 | 12”x 12” Off-White Tan Streak FT and Mastic | 820 | ft2 | G | G |
| Room 415 | 12”x 12” Gray Red Streak Floor Tile and Mastic | 820 | ft2 | G | G |
| Room 417 | 12”x 12” Off-White Tan Streak FT and Mastic | 820 | ft2 | G | MD 1ft2 |
| AV Room | 12”x 12” Gray Red Streak Floor Tile and Mastic | 2,560 | ft2 | G | G |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **AHERA Six-Month Surveillance Inspection Date:\_\_\_\_\_\_9/29/23\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**    **Inspector (Print Name):\_\_\_\_\_\_\_\_Russell Mealey\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**  **Inspector Signature:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**  **Dennis-Yarmouth Regional High School, S. Yarmouth Massachusetts** | | | | | |
| **Location** | **ACBM**  **Description** | **Estimated**  **Quantity** | | **VERTEX**  **July 2013**  **Condition** | **September**  **2023**  **Updated**  **Condition** |
| ***First Floor (Continued)*** | | | | | |
| Room 418B | 12" x 12" Gray Red Streak Floor Tile and Mastic | 448 | ft2 | G | G |
| Room 418C | 12" x 12" Gray Red Streak Floor Tile and Mastic | 400 | ft2 | G | G |
| ***Second Floor*** | | | | | |
| 400-500 Elevator | 12" x 12" Gray Red Streak Floor Tile and Mastic | 36 | ft2 | MD (2 ft2) | MD 3ft2 |
| 500-Hall (1977-Addition) | 12" x 12" Gray Red Streak Floor Tile and Mastic | 1,240 | ft2 | MD (6 ft2) | MD 6ft2 |
| Room 519 | 12”x 12” Off-White Tan Streak FT and Mastic | 900 | ft2 | G | MD 2ft2 |
| Room 524 | 12”x 12” Off-White Tan Streak FT and Mastic | 900 | ft2 | MD (2 ft2) | MD 2ft2 |
| Room 522 | 12”x 12” Off-White Tan Streak FT and Mastic | 900 | ft2 | G | MD 1ft2 |
| Storage Room Across Room 521A | 12”x 12” Off-White Tan Streak FT and Mastic | 300 | ft2 | G | MD 2ft2 |
| Room 511 | 9” x 9” Tan Floor Tile and Mastic | 200 | ft2 | MD (10 ft2) | MD 12ft2 |
| Book Storage by Room 505 | 9” x 9” Tan Floor Tile and Mastic | 144 | ft2 | G | G |
| Room 503-Closet | 9” x 9” Salmon Floor Tile and Mastic | 80 | ft2 | G | G |
| Room 501C-Storage | 9” x 9” Tan Floor Tile and Mastic | 64 | ft2 | G | MD 4ft2 |
| Room 501B | 9” x 9” Salmon Floor Tile and Mastic | 64 | ft2 | MD (3 ft2) | MD 3 ft2 |
| ***Mechanical Penthouse*** | | | | | |
| Former Observatory Area | 9” x 9” Gray Floor Tile and Mastic | 80 | ft2 | SD | SD |

Notes:

ft2 = Square Foot Cond. = Condition U = Unknown

lf = Linear Foot G = Good C = Covered

Unit = Each MD = Minor Damage Fri. = Friable

Y= Yes SD = Significantly Damaged NPI = Not Previously Identified

N = No

**Notes/Updated Changes:**

Green, Tan, Salmon and Gray colored 9” x 9” Floor Tile and Mastic not previously identified was observed during the VERTEX July 2013 inspection.

Gray/Red Streak, Off-White/Green Streak and Off-White Tan Streak colored 12” x 12” Floor Tile and Mastic not previously identified was observed during the VERTEX July 2013 inspection.