|  |
| --- |
| **AHERA Six-Month Surveillance Inspection Date:\_\_\_\_9/29/23\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_****Inspector (Print Name):\_\_\_\_\_\_Russell Mealey\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_****Inspector Signature:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_****Mattacheese Middle School - 400 Higgins Crowell Road West Yarmouth, Massachusetts** |
| **Location** | **ACBM****Description**  | **Estimated** **Quantity** | **VERTEX****April 2013****Condition**  | **September****2023****Updated****Condition**  |
| ***Crawl Spaces*** |
| C-Wing Crawl Space | Pipe Fitting Insulation | 30 | Units | 4 D | 4 D |
| A-Wing Crawl Space | Pipe Fitting Insulation | 34 | Units | 2 D | 2D |
| B-Wing Crawl Space | Pipe Fitting Insulation | 76 | Units | 6 D  | 6D |
| Courtyard-Crawl Space | Pipe Fitting Insulation | 14 | Units | G | G |
| Gym/Auditorium Crawl Space | Pipe Fitting Insulation | 10 | Units | G | G |
| Electrical Room by Boiler Room  | Pipe Fitting Insulation | 5 | Units | 1 D | 1 D |
| ***1st Floor C-Wing*** |
| Boiler Room  | Interior Boiler Materials | 2 | Boilers | U | C |
| Boiler Insulation  | 100 | ft2 | C | C |
| Interior Window Glazing\*  | SU |  | P | P |
| Corridor  | Interior Window Glazing\*  | SU |  | P | P |
| Pipe Fitting Insulation (Assumed behind Walls) |  |  | U | U |
| C-1 | Interior Window Glazing\*  | SU |  | P | P |
| Gray Sink Mastic | 1 | Unit | G | G |
| C-3/5 (Former Wood Shop) | Interior Window Glazing\*  | SU |  | P | P |
| Pipe Fitting Insulation  | 26 | Units | G | G |
| Wood Flooring Paper (Assumed) | 3808 | ft2 | C  | C |
| C-3/5 Storage A/B | Interior Window Glazing\*  | SU |  | P | P |
| Pipe Fitting Insulation  | 1 | Unit | G | G |
| Boys Room | Pipe Fitting Insulation (Assumed behind Walls) |  |  | U | U |
| Girls Room | Pipe Fitting Insulation (Assumed behind Walls) |  |  | U | U |
| C-7 (Art Room) | 12" x 12" Tan Streak Floor Tile and Mastic | 1564 | ft2 | G | MD (2ft2~~)~~ |
| Black Sink Mastic | 3 | Units | G | G |
| Interior Window Glazing\*  | SU |  | P | P |
| C-7-Storage  | 12" x 12" Tan Streak Floor Tile and Mastic | 160 | ft2 | G | MD (1ft2) |
| Black Sink Mastic | 1 | Unit | G | G |
| Pipe Fitting Insulation  | 2 | Units | G | G |
| Interior Window Glazing\*  | SU |  | P | P |

|  |
| --- |
| **AHERA Six-Month Surveillance Inspection Date:\_\_\_\_\_\_9/29/23\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_****Inspector (Print Name):\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_Russell Mealey\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_****Inspector Signature:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_****Mattacheese Middle School - 400 Higgins Crowell Road West Yarmouth, Massachusetts** |
| **Location** | **ACBM****Description**  | **Estimated** **Quantity** | **VERTEX****April 2013****Condition**  | **September****2023****Updated****Condition**  |
| ***1st Floor C-Wing (Continued)*** |
| C-6 (Art Room) | Black Sink Mastic | 2 | Units | G | G |
| Interior Window Glazing\*  | SU |  | P | P |
| C-6-Storage | Black Sink Mastic | 1 | Unit | G | G |
| Interior Window Glazing\*  | SU |  | P | P |
| C-4 | 12" x 12" Tan Streak Floor Tile and Mastic | 1000 | ft2 | G | MD (3ft2) |
| Black Sink Mastic | 5 | Units | G | G |
| Interior Window Glazing\*  | SU |  | P | P |
| C-2 (SPED) | Black Sink Mastic | 1 |  | G | G |
| Pipe Fitting Insulation  | 10 | Units | G | G |
| Pipe Fitting Insulation (Above Ceiling) | 33 | Units | 1 D  | 1 D |
| Interior Window Glazing\*  | SU |  | P | P |
| C-2 Resource Room | Pipe Fitting Insulation  | 1 | Unit | D | D |
| Interior Window Glazing\*  | SU |  | P | P |
| ***2nd Floor C-Wing***  |
| C-22 | Interior Window Glazing\*  | SU |  | P | P |
| C-21 | Interior Window Glazing\*  | SU |  | P | P |
| Roof Drain Fitting Insulation  | 2 | Units | G | G |
| Kitchen  | Pressure Controller Floor Drain Insulation  | 4 | Units | NF | NF |
| Kitchen Storage  | Black Glue Adhesive on Wall | 100 | ft2 | E  | E |
|  | Interior Window Glazing\*  | SU |  | P | P |
| Kitchen Laundry  | Black Glue Adhesive on Wall | 60 | ft2 | E  | E |
| Food Storage/Office  | Interior Window Glazing\*  | SU |  | P | P |
| Cafeteria  | Roof Drain Fitting Insulation  | 2 | Units | G | G |
|  | Interior Window Glazing\*  | SU |  | P | P |
| C-Stair | Interior Window Glazing\*  | SU |  | P | P |
| Serving Room  | Interior Window Glazing\*  | SU |  | P | P |
| Cafeteria Hall  | Interior Window Glazing\*  | SU |  | P | P |
| Girls Room  | Pipe Fitting Insulation (Assumed behind Walls) |  |  | U | U |
| Boys Room | Pipe Fitting Insulation (Assumed behind Walls) |  |  | U | U |
| Teachers Lounge | Interior Window Glazing\*  | SU |  | P | P |

|  |
| --- |
| **AHERA Six-Month Surveillance Inspection Date:\_\_\_\_9/29/23\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_****Inspector (Print Name):\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_Russell Mealey\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_****Inspector Signature:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_****Mattacheese Middle School - 400 Higgins Crowell Road West Yarmouth, Massachusetts** |
| **Location** | **ACBM****Description**  | **Estimated** **Quantity** | **VERTEX****April 2013****Condition**  | **September****2023****Updated****Condition**  |
| ***1st Floor B-Wing***  |
| Corridor  | Interior Window Glazing\*  | SU |  | P | P |
| Pipe Fitting Insulation (Assumed behind Walls) |  |  | U | U |
| B-2 | Table Tops | 200 | ft2 | G | G |
| Fume Hood | 1 | Unit | G | G |
| Interior Window Glazing\*  | SU |  | P | P |
| B-4 | Interior Window Glazing\*  | SU |  | P | P |
| B-6 | Black Sink Mastic | 1 | Unit | G | G |
| Interior Window Glazing\*  | SU |  | P | P |
| B-7 | Black Sink Mastic | 1 | Unit | G | G |
| Interior Window Glazing\*  | SU |  | P | P |
| B-5 | 12" x 12" Off-White Tan Streak Floor Tile and Mastic | 1360 | ft2 | Non-ACM4 | Non-ACM4 |
| Black Sink Mastic | 1 | Unit | G | G |
| Interior Window Glazing\*  | SU |  | P | P |
| B-3 | Interior Window Glazing\*  | SU |  | P | P |
|  | Pipe Fittings | 2 Units |  |  | G |
| B-1 | Interior Window Glazing\*  | SU |  | P | P |
| Janitor Closet  | Interior Window Glazing\*  | SU |  | P | P |
| Girls Room  | Pipe Fitting Insulation (Assumed behind Walls) |  |  | U | U |
| Boys Room | Pipe Fitting Insulation (Assumed behind Walls) |  |  | U | U |
| ***2nd Floor B-Wing***  |
| Janitor Closet  | Interior Window Glazing\*  | SU |  | P | P |
| Girls Room  | Pipe Fitting Insulation (Assumed behind Walls) |  |  | U | U |
| Boys Room | Pipe Fitting Insulation (Assumed behind Walls) |  |  | U | U |
| Resource Office  | Interior Window Glazing\*  | SU |  | P | P |
| B-22 | Black Sink Mastic | 1 | Unit | G | G |
| Interior Window Glazing\*  | SU |  | P | P |
| B-24 | Black Sink Mastic | 1 | Unit | G | G |
| Interior Window Glazing\*  | SU |  | P | P |
| B-26 | Black Sink Mastic | 1 | Unit | G | G |
| Interior Window Glazing\*  | SU |  | P | P |
| **AHERA Six-Month Surveillance Inspection Date:\_\_\_\_\_\_9/29/23\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_****Inspector (Print Name):\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_Russell Mealey\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_****Inspector Signature:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_****Mattacheese Middle School - 400 Higgins Crowell Road West Yarmouth, Massachusetts** |
| **Location** | **ACBM****Description**  | **Estimated** **Quantity** | **VERTEX****April 2013****Condition**  | **September****2023****Updated****Condition**  |
| ***2nd Floor B-Wing (Continued)*** |
| B-28 | Black Sink Mastic | 1 | Unit | G | G |
| Roof Drain Fitting Insulation  | 2 | Units | G | G |
| Interior Window Glazing\*  | SU |  | P | P |
| B-27 | Black Sink Mastic | 1 | Unit | G | G |
| Roof Drain Fitting Insulation  | 2 | Units | G | G |
| Interior Window Glazing\*  | SU |  | P | P |
| B-25 | Black Sink Mastic | 1 | Unit | G | G |
| Interior Window Glazing\*  | SU |  | P | P |
| B-23 | Black Sink Mastic | 1 | Unit | G | G |
| Interior Window Glazing\*  | SU |  | P | P |
| B-21 | Black Sink Mastic | 1 | Unit | G | G |
| Interior Window Glazing\*  | SU |  | P | P |
| 2nd Floor B-Wing Corridor  | Interior Window Glazing\*  | SU |  | P | P |
| Pipe Fitting Insulation (Assumed behind Walls) |  |  | U | U |
| B-Wing Stair | Interior Window Glazing\*  | SU |  | P | P |
| Library  | Interior Window Glazing\*  | SU |  | P | P |
| Tech Office | Interior Window Glazing\*  | SU |  | P | P |
| Technology Work Room | Interior Window Glazing\*  | SU |  | P | P |
| Library Office  | Gray Sink Mastic | 1 | Unit | G | MD |
| ***2nd Floor A-Wing***  |
| 2nd Floor A-Wing Corridor  | Interior Window Glazing\*  | SU |  | P | P |
| Pipe Fitting Insulation(Assumed behind Walls) |  |  | U | U |
| Resource Room | Interior Window Glazing\*  | SU |  | P | P |
| A-21 | Black Sink Mastic | 1 | Unit | G | G |
| Interior Window Glazing\*  | SU |  | P | P |
| A-23 | Black Sink Mastic | 1 | Unit | G | G |
| Interior Window Glazing\*  | SU |  | P | P |
| A-25 | Black Sink Mastic | 1 | Unit | G | G |
| Interior Window Glazing\*  | SU |  | P | P |
| A-27 | Black Sink Mastic | 1 | Unit | G | G |
| Interior Window Glazing\*  | SU |  | P | P |
| A-28 | Black Sink Mastic | 1 | Unit | G | G |
| Interior Window Glazing\*  | SU |  | P | P |

|  |
| --- |
| **AHERA Six-Month Surveillance Inspection Date:\_\_\_\_9/29/23\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_****Inspector (Print Name):\_\_\_\_\_\_\_\_\_\_\_\_\_Russell Mealey\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_****Inspector Signature:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_****Mattacheese Middle School - 400 Higgins Crowell Road West Yarmouth, Massachusetts** |
| **Location** | **ACBM****Description**  | **Estimated** **Quantity** | **VERTEX****April 2013****Condition**  | **September****2023****Updated****Condition**  |
| ***2nd Floor A-Wing(Continued)*** |
| A-26 | Black Sink Mastic | 1 | Unit | G | G |
| Interior Window Glazing\*  | SU |  | P | P |
|  | Pipe Fittings | 2 Units |  |  | G |
| A-24 | Black Sink Mastic | 1 | Unit | G | G |
| Interior Window Glazing\*  | SU |  | P | P |
| A-22 | Black Sink Mastic | 1 | Unit | G | G |
| Interior Window Glazing\*  | SU |  | P | P |
| Janitor Closet  | Interior Window Glazing\*  | SU |  | P | P |
| Girls Room  | Pipe Fitting Insulation (Assumed behind Walls) |  |  | U | U |
| Boys Room | Pipe Fitting Insulation (Assumed behind Walls) |  |  | U | U |
| ***1st Floor A-Wing*** |
| 1st Floor A-Wing Corridor | Interior Window Glazing\*  | SU |  | P | P |
| Pipe Fitting Insulation (Assumed behind Walls) |  |  | U | U |
| Office  | Interior Window Glazing\*  | SU |  | P | P |
| A-1 | Black Sink Mastic | 1 | Unit | G | G |
| Interior Window Glazing\*  | SU |  | P | P |
| A-3 | Black Sink Mastic | 1 | Unit | G | G |
| Interior Window Glazing\*  | SU |  | P | P |
| A-5 | Black Sink Mastic | 1 | Unit | G | G |
| Interior Window Glazing\*  | SU |  | P | P |
| A-7 | Black Sink Mastic | 1 | Unit | G | G |
| Interior Window Glazing\*  | SU |  | P | P |
| A-8 | Black Sink Mastic | 1 | Unit | G | G |
| Interior Window Glazing\*  | SU |  | P | P |
| A-6 | Black Sink Mastic | 1 | Unit | G | G |
| Interior Window Glazing\*  | SU |  | P | P |
| A-4 | Black Sink Mastic | 1 | Unit | G | G |
| Interior Window Glazing\*  | SU |  | P | P |
| A-2 | Black Sink Mastic | 1 | Unit | G | G |
| Interior Window Glazing\*  | SU |  | P | P |
| Janitor Closet  | Interior Window Glazing\*  | SU |  | P | P |
| Girls Room  | Pipe Fitting Insulation(Assumed behind Walls) |  |  | U | U |

|  |
| --- |
| **AHERA Six-Month Surveillance Inspection Date:\_\_\_\_\_\_\_\_\_9/29/23\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_****Inspector (Print Name):\_\_\_\_Russell Mealey\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_****Inspector Signature:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_****Mattacheese Middle School - 400 Higgins Crowell Road West Yarmouth, Massachusetts** |
| **Location** | **ACBM****Description**  | **Estimated** **Quantity** | **VERTEX****April 2013****Condition**  | **September****2023****Updated****Condition**  |
| ***1st Floor A-Wing (Continued)*** |
| Boys Room | Pipe Fitting Insulation(Assumed behind Walls) |  |  | U | U |
| A-Wing Stair  | Interior Window Glazing\*  | SU |  | P | P |
| ***1st Floor Gym/Auditorium Area***  |
| Gym/Auditorium Halls | Interior Window Glazing\*  | SU |  | P | P |
| Choral Office  | Flexible Duct Connector Cloth  | 10 | ft2 | G | G |
| Band Room | Flexible Duct Connector Cloth  | 20 | ft2 | G | G |
| Boys Dressing Room | Gray Sink Mastic | 1 | Unit | G | G |
| Pipe Fitting Insulation (Assumed behind Walls) |  |  | U | U |
| Girls Dressing Room | Gray Sink Mastic | 1 | Unit | G | G |
| Mens Room  | Pipe Fitting Insulation (Assumed behind Walls) |  |  | U | U |
| Girls Room  | Pipe Fitting Insulation (Assumed behind Walls) |  |  | U | U |
| Gym | Wood Floor Paper (Assumed) | 10100 | ft2 | G | G |
| Boys Locker Room Janitor Closet | Pipe Fitting Insulation  | 17 | Units | 3 D  | 3 D |
| Boys Locker Room  | Pipe Fitting Insulation  | 17 | Units | 2 D  | 2 D |
| Black Mastic on Fountain\*\* | 2 | Units | G | G |
| Boys Equipment Storage | Pipe Fitting Insulation  | 4 | Units | G | G |
| Girls Room (Exterior) | Pipe Fitting Insulation (Assumed behind Walls) |  |  | U | U |
| Boys Room (Exterior) | Pipe Fitting Insulation  | 4 | Units | G | G |
| Girls Locker Room | Pipe Fitting Insulation  | 49 | Units | G | G |
| Black Mastic on Fountain\*\* | 2 | Units | G | G |
| Girls Locker Room Janitor Closet | Pipe Fitting Insulation  | 8 | Units | G | G |
| ***1st Floor Main Office Area*** |
| Nurse  | Interior Window Glazing\*  | SU |  | P | P |
| Conference Room # 1  | Interior Window Glazing\*  | SU |  | P | P |
| Counselor Office  | Interior Window Glazing\*  | SU |  | P | P |
| Psyc Office  | Interior Window Glazing\*  | SU |  | P | P |
| Assistant Principal Office | Interior Window Glazing\*  | SU |  | P | P |

|  |
| --- |
| **AHERA Six-Month Surveillance Inspection Date:\_\_\_\_\_\_\_\_9/29/23\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_****Inspector (Print Name):\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_Russell Mealey\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_****Inspector Signature:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_****Mattacheese Middle School - 400 Higgins Crowell Road West Yarmouth, Massachusetts** |
| **Location** | **ACBM****Description**  | **Estimated** **Quantity** | **VERTEX****April 2013****Condition**  | **September****2023****Updated****Condition**  |
| ***1st Floor Main Office Area (Continued)*** |
| Principal Office  | Interior Window Glazing\*  | SU |  | P | P |
| Pipe Fitting Insulation (Assumed behind Walls in Bathroom) |  |  | U | U |
| Ms. Kobel Office | Interior Window Glazing\*  | SU |  | P | P |
| Conference Room # 2  | Interior Window Glazing\*  | SU |  | P | P |
| Faculty Kitchen  | 12" x 12" Off-White Black Streak Floor Tile | 240 | ft2 | G | G |
| Interior Window Glazing\*  | SU |  | P | P |
| Copy Room  | 12" x 12" Off-White Black Streak Floor Tile | 160 | ft2 | G | MD 1ft2 |
| Interior Window Glazing\*  | SU |  | P | P |

Notes:

ft2 = Square Foot Cond. = Condition U = Unknown

lf = Linear Foot G = Good C = Covered

Unit = Each MD = Minor Damage NF = Not Found

Y= Yes D = Damaged NPI = Not Previously Identified

N = No Fri. = Friable SU = Store Front Window Units

E = Exposed

**Notes/Updated Changes:**

Non-ACM 4 = Review of the September 2011 Re-Inspection Report prepared by FLI indicated that 12"

Tan Streak Floor Tile and Mastic was asbestos within B-5. Based on the VERTEX 2013

 inspection and laboratory analysis, the Floor Tile and Mastic are Non-ACM.