|  |
| --- |
| **AHERA Six-Month Surveillance Inspection Date:\_\_\_\_\_\_\_\_9/29/23\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_****Inspector (Print Name):\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_Russell Mealey\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_****Inspector Signature:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_****M.E. Small Elementary School - 440 Higgins-Crowell Road, West Yarmouth, Massachusetts** |
| **Location** | **ACBM****Description**  | **Estimated** **Quantity** | **VERTEX****April 2013****Condition**  | **September****2023****Updated****Condition**  |
| ***Upper Level*** |
| Room 101 | 9" x 9" Off-White Multi-Color Spec Floor Tile and Mastic | 990 | ft2 | G | 3 ft2 D |
| Drywall/Joint Compound\* | 100 | ft2 | G | G |
| Black Sink Mastic | 1 | Unit | G | C |
| Room 102 | 9" x 9" Off-White Multi-Color Spec Floor Tile | 990 | ft2 | G | G |
| Drywall/Joint Compound\* | 100 | ft2 | G | G |
| Black Sink Mastic | 1 | Unit | G | C |
| Room 103 | 9" x 9" Tan Floor Tile and Mastic | 990 | ft2 | G | G |
| Drywall/Joint Compound\* | 100 | ft2 | G | G |
| Black Sink Mastic | 1 | Unit | G | C |
| Room 104 | 9" x 9" Tan Floor Tile and Mastic | 990 | ft2 | G | G |
| Drywall/Joint Compound\* | 100 | ft2 | G | G |
| Black Sink Mastic | 1 | Unit | G | C |
| Janitor Closet by Supply Closet A | 9" x 9" Tan Floor Tile and Mastic | 36 | ft2 | G | 16 ft2 D |
| Supply Closet A | 9" x 9" Tan Floor Tile and Mastic | 36 | ft2 | G | MD 2ft2 |
| Room 105 | 9" x 9" Tan Floor Tile and Mastic | 990 | ft2 | G | G |
| Drywall/Joint Compound\* | 100 | ft2 | G | G |
| Black Sink Mastic | 1 | Unit | G | C |
| Room 106 | 9" x 9" Tan Floor Tile and Mastic | 990 | ft2 | G | G |
| Drywall/Joint Compound\* | 100 | ft2 | G | G |
| Black Sink Mastic | 1 | Unit | G | C |
| Room 107 | 9" x 9" Tan Floor Tile and Mastic | 990 | ft2 | G | 1ft2D |
| Drywall/Joint Compound\* | 100 | ft2 | G | G |
| Black Sink Mastic | 1 | Unit | G | C |
| Room 108 | 9" x 9" Tan Floor Tile and Mastic | 990 | ft2 | G | MD 3ft2 |
| Drywall/Joint Compound\* | 100 | ft2 | G | G |
| Black Sink Mastic | 1 | Unit | G | C |
| Supply Closet B | 9" x 9" Off-White Multi-Color Spec Floor Tile and Mastic | 50 | ft2 | G | G |
| Supply Closet C | 9" x 9" Tan Floor Tile and Mastic | 28 | ft2 | G | 2ft2D |
| Supply Closet D | 9" x 9" Tan Floor Tile and Mastic | 36 | ft2 | G | G |

|  |
| --- |
| **AHERA Six-Month Surveillance Inspection Date:\_\_\_\_\_\_\_\_\_\_9/29/23\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_****Inspector (Print Name):\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_Russell Mealey\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_****Inspector Signature:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_****M.E. Small Elementary School - 440 Higgins-Crowell Road, West Yarmouth, Massachusetts** |
| **Location** | **ACBM****Description**  | **Estimated** **Quantity** | **VERTEX****April 2013****Condition**  | **September****2023****Updated****Condition**  |
| ***Upper Level (Continued)*** |
| Janitor Closet by Supply Closet D | 9" x 9" Tan Floor Tile and Mastic | 36 | ft2 | G | 8 ft2 D |
| Room 201 | 9" x 9" Tan Floor Tile and Mastic | 990 | ft2 | G | G |
| Drywall/Joint Compound\* | 100 | ft2 | G | G |
| Room 202 | 9" x 9" Tan Floor Tile and Mastic | 990 | ft2 | G | G |
| Drywall/Joint Compound\* | 100 | ft2 | G | G |
| Black Sink Mastic | 1 | Unit | G | C |
| L-204/Library  | Drywall/Joint Compound\* | 360 | ft2 | G | G |
| L-204C/Computer Room | 9" x 9" Tan Floor Tile and Mastic | 405 | ft2 | G | G |
| Drywall/Joint Compound\* | 100 | ft2 | G | G |
| L-204A | 9" x 9" Tan Floor Tile and Mastic | 960 | ft2 | MD | MD |
| Drywall/Joint Compound\* | 100 | ft2 | G | G |
| L-204B | 9" x 9" Tan Floor Tile and Mastic | 960 | ft2 | MD | MD |
| Drywall/Joint Compound\* | 100 | ft2 | G | G |
| Teacher Lounge and Bathrooms | 9" x 9" Off-White Multi-Color Spec Floor Tile and Mastic | 180 | ft2 | 3 ft2 D | 3 ft2 D |
| Room 205A (Psyc Office) | 9" x 9" Off-White Multi-Color Spec Floor Tile and Mastic (Under Carpet) | 200 | ft2 | C | C |
| Contaminated Carpet | 200 | ft2 | G | G |
| Room 205 (Art) | Drywall/Joint Compound\* | 220 | ft2 | G | G |
| Room 310 | 9" x 9" Off-White Multi-Color Spec Floor Tile and Mastic | 990 | ft2 | G | G |
| Drywall/Joint Compound\* | 100 | ft2 | G | G |
| Black Sink Mastic | 1 | Unit | G | C |
| Supply Closet E | 9" x 9" Tan Floor Tile and Mastic | 36 | ft2 | G | G |
| Janitor Closet by Supply Closet E | 9" x 9" Tan Floor Tile and Mastic | 36 | ft2 | 12 ft2 D | 12 ft2 D |
| Room 309 | 9" x 9" Off-White Multi-Color Spec Floor Tile and Mastic | 990 | ft2 | G | G |
| Drywall/Joint Compound\* | 100 | ft2 | G | G |
| Black Sink Mastic | 1 | Unit | G | C |
| Supply Closet F | 9" x 9" Tan Floor Tile and Mastic | 36 | ft2 | G | 2ft2D |
| Supply Closet G | 9" x 9" Tan Floor Tile and Mastic | 28 | ft2 | G | MD 2ft2 |

|  |
| --- |
| **AHERA Six-Month Surveillance Inspection Date:\_\_\_\_\_\_\_\_9/29/23\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_****Inspector (Print Name):\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_Russell Mealey\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_****Inspector Signature:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_****M.E. Small Elementary School - 440 Higgins-Crowell Road, West Yarmouth, Massachusetts** |
| **Location** | **ACBM****Description**  | **Estimated** **Quantity** | **VERTEX****April 2013****Condition**  | **September****2023****Updated****Condition**  |
| ***Upper Level (Continued)*** |
| Room 308 | 9" x 9" Off-White Multi-Color Spec Floor Tile and Mastic | 990 | ft2 | G | 3 ft2 D |
| Drywall/Joint Compound\* | 100 | ft2 | G | G |
| Black Sink Mastic | 1 | Unit | G | C |
| Room 307 | 9" x 9" Off-White Multi-Color Spec Floor Tile and Mastic | 990 | ft2 | G | 4 ft2 D |
| Drywall/Joint Compound\* | 100 | ft2 | G | G |
| Black Sink Mastic | 1 | Unit | G | C |
| Supply Closet H | 9" x 9" Tan Floor Tile and Mastic | 36 | ft2 | G | G |
| Janitor Closet by Supply Closet H | 9" x 9" Tan Floor Tile and Mastic | 36 | ft2 | 20 ft2 D | 20 ft2 D |
| Room 306 | 9" x 9" Off-White Multi-Color Spec Floor Tile and Mastic | 990 | ft2 | G | 1 ft2 D |
| Drywall/Joint Compound\* | 100 | ft2 | G | G |
| Black Sink Mastic | 1 | Unit | G | C |
| Room 305 | 9" x 9" Off-White Multi-Color Spec Floor Tile and Mastic | 990 | ft2 | G | 1 ft2 D |
| Drywall/Joint Compound\* | 100 | ft2 | G | G |
| Black Sink Mastic | 1 | Unit | G | C |
| Room 304 | 9" x 9" Off-White Multi-Color Spec Floor Tile and Mastic | 990 | ft2 | G | G |
| Drywall/Joint Compound\* | 100 | ft2 | G | G |
| Black Sink Mastic | 1 | Unit | G | C |
| Room 303 | 9" x 9" Off-White Multi-Color Spec Floor Tile and Mastic | 990 | ft2 | G | 6ft2D |
| Drywall/Joint Compound\* | 100 | ft2 | G | G |
| Black Sink Mastic | 1 | Unit | G | C |
| Room 302 | 9" x 9" Off-White Multi-Color Spec Floor Tile and Mastic | 990 | ft2 | G | 4ft2D |
| Drywall/Joint Compound\* | 100 | ft2 | G | G |
| Black Sink Mastic | 1 | Unit | G | C |
| Room 301 | 9" x 9" Off-White Multi-Color Spec Floor Tile and Mastic | 990 | ft2 | G | 2ft2D |
| Drywall/Joint Compound\* | 100 | ft2 | G | G |
| Black Sink Mastic | 1 | Unit | G | C |

|  |
| --- |
| **AHERA Six-Month Surveillance Inspection Date:\_\_\_\_\_\_9/29/23\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_****Inspector (Print Name):\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_Russell Mealey\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_****Inspector Signature:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_****M.E. Small Elementary School - 440 Higgins-Crowell Road, West Yarmouth, Massachusetts** |
| **Location** | **ACBM****Description**  | **Estimated** **Quantity** | **VERTEX****April 2013****Condition**  | **September** **2023****Updated****Condition**  |
| ***Upper Level (Continued)*** |
| Supply Closet/Janitor Closet I by Men’s/Women’s Room | Black Residual Mastic | 28 | ft2 | E | E |
|  | Pipe Fitting Insulation  | 11 | Units | G | G |
| Gym | Wood Flooring Paper (Assumed) | 2646 | ft2 | C  | C |
| Gym Office Hatch |  Flexible Duct Connector Cloth  | 1 | Unit | G | G |
| Clinic (Nurse) and Bathroom  | 9" x 9" Off-White Multi-Color Spec Floor Tile and Mastic | 220 | ft2 | G | G |
| Black Sink Mastic | 1 | Unit | G | G |
| Black Residual Mastic | 20 | ft2 | C  | C |
| 12" x 12" Blue Floor Tile (Contaminated) | 20 | ft2 | G | G |
| Main Office Area (Conference, Principal, Guidance) | Pink Sink Mastic (Assumed) | 1 | Unit |  | U |
| Drywall/Joint Compound\* | 180 | ft2 | G | G |
| Main Office Bathroom  | Black Residual Mastic | 20 | ft2 | C  | C |
| 12" x 12" Blue Floor Tile (Contaminated) | 20 | ft2 | G | G |
| Main Office Closet | 9" x 9" Tan Floor Tile and Mastic | 36 | ft2 | G | G |
| Pipe Fitting Insulation  | 6 | Units | G | G |
| Kitchen/Cafeteria | Drywall/Joint Compound\* | 650 | ft2 | G | G |
| Staff Dining  | Drywall/Joint Compound\* | 220 | ft2 | G | G |
| Upper Level Corridors | Drywall/Joint Compound\* | 2000 | ft2 | G | G |
| Fire Doors (Assumed) | 12 | Units | G | G |
| ***Lower Level***  |
| Boiler Room | Interior Boiler Materials  | 2 | Boilers | U | U |
| Hall to Music Room | 9" x 9" Tan Floor Tile and Mastic | 60 | ft2 | G | G |
| Music Room | 9" x 9" Tan Floor Tile and Mastic | 3250 | ft2 | G | G |
| Pipe Insulation (Above Ceiling under Plastic Jacket) | 230 | lf | G | G |
| Crawl Space  | Pipe Fitting Insulation  | 229 | Units | 7 D | 7 D |

Notes:

ft2 = Square Foot Cond. = Condition U = Unknown

lf = Linear Foot G = Good C = Covered

Unit = Each MD = Minor Damage NF = Not Found

Y= Yes D = Damaged NPI = Not Previously Identified

N = No Fri. = Friable